{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Read First","Submission Data","_lookup_"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":14,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Read First","index":0,"n_rows":28,"n_cols":3,"rows_kept":28,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,"Please read the following instructions before completing the Template"]
[]
[null,null,"1. Does the format in which the data is pasted into the Excel template matter?"]
[null,null,"Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:"]
[null,null,"• That the data is pasted into the correct fields"]
[null,null,"• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive"]
[null,null,"• That the pasted data does not contain any embedded formulas"]
[null,null,"• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this."]
[]
[null,null,"You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus."]
[]
[]
[null,null,"2. Why are the units of measurement that I entered into the excel template invalid?"]
[null,null,"Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid."]
[]
[]
[null,null," 3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?"]
[null,null,"The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal."]
[]
[null,null,"Note: that there are no macros functions in this year’s templates."]
[]
[null,null,"NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser."]
[]
[null,null,"Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage."]
[]
[null,null,"Otherwise, please feel free to contact us at BPSSupport@ontario.ca "]

{"sheet":"Submission Data","index":1,"n_rows":35,"n_cols":36,"rows_kept":35,"cut":false,"hidden":false,"merged":[]}
["Energy Consumption and Greenhouse Gas Emissions Reporting - for 2020"]
["Confirm consecutive 12-mth period (mth-yr to mth-yr)","Jan/2020 - Dec/2020"]
["Sector","Municipality"]
["Agency Sub-sector","Municipal"]
["Organization Name","City of Owen Sound"]
[]
[]
["Operation Name","Operation Type","Address","City","Postal Code","Total Floor Area","Unit","Avg hrs/wk","Annual Flow\n (ML)","Electricity\n Quantity","Electricity\n Unit","Natural\n Gas Quantity","Natural\n Gas Unit","Fuel Oil\n 1 & 2 Quantity","Fuel Oil\n 1 & 2 Unit"," Fuel Oil\n 4 & 6 Quantity","Fuel Oil\n 4 & 6 Unit","Propane\n Quantity","Propane\n Unit","Coal\n Quantity","Coal\n Unit","Wood\n Quantity","Wood\n Unit","District\n Heating Quantity","District\n Heating Unit","Renewable?","If Yes,\n enter Emission Factor","District\n Cooling Quantity","District\n Cooling Unit","Renewable?","If Yes,\n enter Emission Factor","GHG Emissions (Kg)","Energy Intensity (ekWh/sqft)","Energy Intensity (ekWh/Mega Litre)","Building / Operation Identifier","Comments"]
["Stephenson Building","Administrative offices and related facilities, including municipal council chambers","2160 Yonge Street","Toronto","M7A 2G5",135034,"Square feet",70,23516.002240000002,2181065,"kWh",125300,"Cubic meter",null,"Litre",null,"Litre",null,"Litre",null,"Metric Tonne",null,"Metric Tonne",26.73,"Giga Joule","No",0,20.506,"Giga Joule","No",0,{"$nulls":4},"max. 255 characters"]
["Bayshore Community Centre","Community centres","1900 3rd Avenue East","Owe Sound","N4K 2M6",1445,"Square feet",104.71,0,680312.13600000006,"kWh",113282.54300000001,"Cubic Meter",{"$nulls":18},231487.617661389,1303.9818276795199,0]
["Beattie St Booster Station","Facilities related to the pumping of water","150 Beattie Street","Owen Sound","N4K 6X3",0,"Square meters",168,239.42150000000001,34882.371599999999,"kWh",{"$nulls":20},887.6865924768,0,145.694399208091]
["Billy Bishop Home & Museum","Cultural facilities","948 3rd Ave W","Owen Sound","N4K 4P6",455,"Square meters",53.85,0,41379.381999999998,"kWh",4029,"Cubic Meter",{"$nulls":18},8670.3586961359997,17.191893211213799,0]
["Billy Bishop Regional Airport","Administrative offices and related facilities, including municipal council chambers","203807 Hwy 26, RR # 8","Owen Sound","N4K 5W4",321,"Square meters",39.99,0,77646,"kWh",4652.5510000000004,"Cubic Meter",{"$nulls":18},10772.173947477,36.782721429038702,0]
["Cemetery ","Storage facilities where equipment or vehicles are maintained, repaired or stored","190 1st Street West","Owen Sound","N4K 5S5",338,"Square meters",39.89,0,4,"kWh",9409.4660000000003,"Cubic Meter",{"$nulls":18},17789.892267182,27.487663123769,0]
["City Hall","Administrative offices and related facilities, including municipal council chambers","808 2nd Avenue East","Owen Sound","N4K 2H4",1921,"Square meters",45.87,0,331010.136,"kWh",{"$nulls":20},8423.5459409279993,16.008242928062501,0]
["CN Station","Cultural facilities","1155 1st Ave West","Owen Sound","N4K 4K8",442,"Square meters",47,0,10980.395200000001,"kWh",{"$nulls":20},279.42909704959999,2.30794492141538,0]
["East Hill Pumping Station","Facilities related to the pumping of water","925 8th St East","Owen Sound","N4K 1M5",0,"Square meters",168,801.01099999999997,443370.96,"kWh",{"$nulls":20},11282.90419008,0,553.51419643425595]
["Fire Hall","Fire stations and associated offices and facilities","1209 -3rd Avenue East","Owen Sound","N4K 2L6",1197,"Square meters",168,0,105712.74,"kWh",36432.097999999998,"Cubic Meter",{"$nulls":18},71569.685952966,38.2559305479136,0]
["JMRRC YMCA","Indoor recreational facilities","700 10th Street East","Owen Sound","N4K 0C6",5399,"Square meters",102,0,277423637.07999998,"kWh",291211.40100000001,"Cubic Meter",{"$nulls":18},7610448.8538502697,4827.0080425283404,0]
["Leith Water Supply Meter Building","Facilities related to the treatment of water","3590003 Grey Rd 15","Owen Sound","N4K 5N3",0,"Square meters",168,16.5,2655.0944,"kWh",{"$nulls":20},67.566842291200004,0,160.91481212121201]
["Owen Sound Union Public Library","Public libraries","824 1st Ave West","Owen Sound","N4K 4K4",2090,"Square meters",68,0,2352.7435999999998,"kWh",41368.49,"Cubic Meter",{"$nulls":18},78272.256762362798,19.647776767522299,0]
["Police Station","Police stations and associated offices and facilities","922 2nd Avenue West","Owen Sound","N4K 4M7",1394,"Square meters",167.54,0,626382.94400000002,"kWh",42044.654999999999,"Cubic Meter",{"$nulls":18},95430.953107597001,71.524924149832103,0]
["Public Works ","Administrative offices and related facilities, including municipal council chambers","1900 20th Street East","Owen Sound","N4K 5N3",595,"Square meters",39.89,0,140021.56,"kWh",61811.1,"Cubic Meter",{"$nulls":18},120425.00321857999,124.433208164278,0]
["Reservoir 937 9th St E","Other","937 9th St E","Owen Sound","N4K 1R4",21.89,"Square meters",168,0,64861.2042,"kWh",{"$nulls":20},1650.5879244816001,275.27640264013701,0]
["Sewage Treatment Plant","Facilities related to the treatment of sewage","2050 3rd Ave East","Owen Sound","N4K 2M6",0,"Square meters",168,4765.5590000000002,2539035.27,"kWh",188254.2,"Cubic Meter",{"$nulls":18},420531.84293435997,0,952.61834486015198]
["SPS 1470 2nd Ave W","Facilities related to the pumping of sewage","1470 2nd Ave West","Owen Sound","N4K 4N7",0,"Square meters",168,1082.2329999999999,96892.944000000003,"kWh",{"$nulls":20},2465.7316389120001,0,89.530576132866003]
["SPS 285 2nd St East","Facilities related to the pumping of sewage","285 2nd St East","Owen Sound","N4K 1A3",0,"Square meters",168,12.278729999999999,2396.5689000000002,"kWh",{"$nulls":20},60.987885367200001,0,195.18051948369299]
["SPS 399 5th Ave East","Facilities related to the pumping of sewage","399 5th Ave East","Owen Sound","N4K 2R4",0,"Square meters",168,7.2490300000000003,4424.7932000000001,"kWh",{"$nulls":20},112.6021373536,0,610.39797048708601]
["SPS East Bayshore","Facilities related to the pumping of sewage","3480 3rd Ave East","Owen Sound","N4K 5N3",0,"Square meters",168,83,9303.1348999999991,"kWh",{"$nulls":20},236.7461769352,0,112.085962650602]
["SPS Goodyear","Facilities related to the pumping of sewage","3207 3rd Ave East","Owen Sound","N4K 5N3",0,"Square meters",168,48.535679999999999,8317.5815000000002,"kWh",{"$nulls":20},211.665814012,0,171.370453653889]
["SPS Parkview East","Facilities related to the pumping of sewage","131 5th Street East","Owen Sound","N4K 6M6",0,"Square meters",168,117.1,3138.5693999999999,"kWh",{"$nulls":20},79.870314091200001,0,26.802471391972698]
["SPS Sydenham Crescent","Facilities related to the pumping of sewage","100 5th Street East","Owen Sound","N4K 1C5",0,"Square meters",168,10.544729999999999,334.10079999999999,"kWh",{"$nulls":20},8.5021971583999996,0,31.684149333363699]
["Streetlights ","Other","808 2nd Ave East","Owen Sound","N4K 2H4",2,"Square meters",84,0,344453.20819999999,"kWh",{"$nulls":20},8765.6452422736002,16000.3682007023,0]
["Tom Thomson AG","Art galleries","840 1st Avenue West","Owen Sound","N4K 4K4",1217,"Square meters",51.86,0,175615.44,"kWh",22504.254000000001,"Cubic Meter",{"$nulls":18},47016.211944378003,31.663787730883399,0]
["Water Treatment Plant","Facilities related to the treatment of water","2600 3rd Ave East","Owen Sound","N4K 2M6",0,"Square meters",168,2926.5330600000002,2141851,"kWh",150976.4,"Cubic Meter",{"$nulls":18},339945.88245079998,0,1280.14768145582]

{"sheet":"_lookup_","index":2,"n_rows":26,"n_cols":12,"rows_kept":26,"cut":false,"hidden":true,"merged":[]}
["OperationType","FloorArea","Electricity","NaturalGas","FuelOil12","FuelOil46","Propane","Coal","Wood","DistrictHeating","DistrictCooling","Renewable"]
["Administrative offices and related facilities, including municipal council chambers","Square feet","kWh","Cubic Meter","Litre","Litre","Litre","Metric Tonne","Metric Tonne","Metric Tonne","Giga Joule","Yes"]
["Public libraries","Square meters",null,"Giga Joule",{"$nulls":5},"Giga Joule","KL Chilled Water","No"]
["Cultural facilities",null,null,"ekWh",{"$nulls":5},"KL Hot Water"]
["Indoor recreational facilities"]
["Community centres"]
["Art galleries"]
["Performing arts facilities"]
["Auditoriums"]
["Indoor sports arenas"]
["Indoor ice rinks"]
["Indoor swimming pools"]
["Gyms and indoor courts for playing tennis, basketball or other sports"]
["Ambulance stations and associated offices and facilities"]
["Fire stations and associated offices and facilities"]
["Police stations and associated offices and facilities"]
["Storage facilities where equipment or vehicles are maintained, repaired or stored"]
["Parking garages"]
["Facilities related to the treatment of water"]
["Facilities related to the treatment of sewage"]
["Facilities related to the pumping of water"]
["Facilities related to the pumping of sewage"]
["Street lighting"]
["Social housing"]
["Long-term care"]
["Other"]